## MatrixObjects_auto
Name | IFC_Mapping | Section
Aandrijving | IfcDistributionElement | section_6_1
AboveGroundLevel | IfcBuildingStorey | section_4_2
AccessRoad | IfcRoad | section_1_1
AdjacentStory | IfcBuildingStorey | section_5_4
AirDuct | IfcFlowSegment | section_6_7
AirDuct | IfcDuctSegment | section_6_7
AirHandlingUnit | IfcUnitaryEquipment | section_6_7
Airlock | IfcSpace | section_5_2
Annex | IfcBuilding | section_1_2
Atrium | IfcSpace | section_2_1
Attic | IfcSpace | section_6_7
Basement | IfcSpace | section_6_7
BoilerRoom | IfcSpace | section_5_1
Bordes | IfcSlab | section_6_1
Building | IfcBuilding | section_0_1
BuildingElement | IfcBuildingElement | section_3_5
BuildingStorey | IfcBuildingStorey | section_3_2
BuildingZone | IfcZone | section_6_7
Canopy | IfcRoof | section_1_2
CantileveredPart | IfcBuildingElement | section_1_2
CeilingCavity | IfcSpace | section_3_4
CeilingSuspended | IfcCovering | section_5_4
CentralFireControlPanel | IfcDistributionControlElement | section_6_7
ClosureDevice | IfcDoor | section_3_5
CollectiveKitchen | IfcSpace | section_6_7
CommercialSpace | IfcSpace | section_4_4
Compartment | IfcSpace | section_2_1
Compartment | IfcSpatialZone | section_5_1
CompartmentDivider | IfcWall | section_3_4
CompartmentWall | IfcWall | section_3_5
Controleorganen | IfcBuildingElementProxy | section_6_1
Corridor | IfcSpace | section_6_8
Curtain Wall | IfcCurtainWall | section_3_5
DisplayWindow | IfcWindow | section_4_4
Door | IfcDoor | section_1_3
DoorSet | IfcDoorStyle | section_3_5
DoubleWallFacade | IfcWall | section_3_5
Duct | IfcDuctSegment | section_4_2
Duct | IfcFlowSegment | section_5_5
Duplex | IfcSpace | section_4_2
ElectricalConduit | IfcElectricalElement | section_3_1
ElectricalRoom | IfcSpace | section_5_1
Elevator | IfcTransportElement | section_4_5
ElevatorCar | IfcTransportElement | section_6_4
ElevatorDoor | IfcDoor | section_6_4
ElevatorLanding | IfcSpace | section_6_1
ElevatorLobby | IfcSpace | section_6_4
ElevatorMachineRoom | IfcSpace | section_6_1
ElevatorShaft | IfcBuildingElementProxy | section_6_1
EmergencyExit | IfcDoor | section_4_5
Escalator | IfcTransportElement | section_6_1
EscapeBalcony | IfcSlab | section_4_3
EscapeTerrace | IfcSlab | section_4_4
EvacuationGroup | IfcGroup | section_6_8
EvacuationLevel | IfcBuildingStorey | section_2_2
EvacuationRoute | IfcSpace | section_2_2
Exit | IfcDoor | section_2_2
ExpansionJoint | IfcBuildingElementProxy | section_3_1
ExternalStair | IfcStair | section_4_3
FireAlarmDevice | IfcAlarmType | section_6_8
FireDamper | IfcFlowController | section_6_7
FireDamper | IfcDamper | section_6_7
FireDetectionSystem | IfcSystem | section_3_5
FireDetectionSystem | IfcAlarm | section_6_7
FireExtinguisher | IfcFireSuppressionTerminal | section_6_8
FirefighterSwitch | IfcBuildingElementProxy | section_6_4
Floor | IfcBuildingStorey | section_2_1
Floor | IfcSlab | section_3_2
FreightElevator | IfcTransportElement | section_6_1
Fryer | IfcFlowTerminal | section_5_5
Gallery | IfcSpace | section_5_4
Garage | IfcSpace | section_6_7
GasInstallation | IfcDistributionSystem | section_6_6
GasPipe | IfcPipeSegment | section_5_1
GoederenLift | IfcTransportElement | section_6_1
Guide | IfcActor | section_6_8
HorizontalShaft | IfcSpace | section_5_1
HoseReel | IfcFireSuppressionTerminal | section_6_8
Hydrant | IfcFireSuppressionTerminal | section_6_8
HydraulicElevator | IfcTransportElement | section_6_1
HydraulicFreightElevator | IfcTransportElement | section_6_1
InspectionHatch | IfcOpeningElement | section_6_2
Kitchen | IfcSpace | section_5_5
Landing | IfcStair | section_4_2
Landing | IfcBuildingElementProxy | section_6_8
LandingDoor | IfcDoor | section_6_1
Lift | IfcTransportElement | section_6_1
LiftDoor | IfcDoor | section_6_4
Lobby | IfcSpace | section_4_2
Machinekamer | IfcSpace | section_6_1
MachineRoom | IfcSpace | section_6_1
ManualControlSystem | IfcSystem | section_3_5
OpenParkingLevel | IfcBuildingStorey | section_5_2
Parking | IfcSpace | section_2_1
Parking | IfcBuilding | section_5_2
Parking | IfcBuildingStorey | section_5_2
ParkingCompartment | IfcSpatialZone | section_6_3
ParkingStructure | IfcBuilding | section_5_2
Pipe | IfcFlowSegment | section_3_1
ProjectingRoof | IfcRoof | section_1_2
PublicRoad | IfcSpace | section_4_4
Ramp | IfcRamp | section_5_2
Restaurant | IfcSpace | section_5_5
RetractableStair | IfcStair | section_4_3
RiserPipe | IfcPipeSegment | section_6_8
Roof | IfcRoof | section_3_2
Room | IfcSpace | section_2_2
SafetyLighting | IfcElectricalDevice | section_6_5
Schacht | IfcTransportElement | section_6_1
Screen | IfcCovering | section_5_1
Shaft | IfcTransportElement | section_6_1
Shaft | IfcSpace | section_6_2
ShopComplex | IfcBuilding | section_5_4
ShopUnit | IfcSpace | section_5_4
SmokeControl | IfcDamper | section_6_7
SmokeDetector | IfcSensor | section_3_5
SmokeValve | IfcFlowController | section_6_7
Space | IfcSpace | section_0_2
SprinklerSystem | IfcFireSuppressionTerminal | section_5_4
Stair | IfcStair | section_4_2
Staircase | IfcStair | section_2_2
Stairwell | IfcStair | section_6_1
Storey | IfcBuildingStorey | section_0_2
StructuralElement | IfcStructuralMember | section_3_2
SuspendedCeiling | IfcCovering | section_3_4
TechnicalRoom | IfcSpace | section_2_1
TechnicalShaft | IfcSpace | section_6_7
ThermalDetector | IfcSensor | section_3_5
TransformerRoom | IfcSpace | section_5_1
TransportSystem | IfcTransportElement | section_5_5
Trapdoor | IfcDoor | section_5_1
Triplex | IfcSpace | section_4_2
UndergroundLevel | IfcBuildingStorey | section_4_2
VentilationFlap | IfcFlowController | section_5_1
VentilationOpening | IfcOpeningElement | section_3_5
VerticalShaft | IfcSpace | section_5_1
Wall | IfcWall | section_0_3
WasteDisposalChute | IfcBuildingElement | section_5_1
WasteStorageRoom | IfcSpace | section_5_1

## MatrixProperties_auto
Name | IFC_Mapping | Section
BuildingHeight | Pset_BuildingCommon.NumberOfStoreys | section_0_1
FirePreventionMeasures | Firebim.FirePreventionMeasures | section_0_1
OccupantSafetyMeasures | Firebim.OccupantSafetyMeasures | section_0_1
FirefighterAccessibility | Firebim.FirefighterAccessibility | section_0_1
ApplicationDate | Firebim.ApplicationDate | section_0_2
BuildingHeight | IfcBuilding.BuildingHeight | section_0_2
IsExtension | Firebim.IsExtension | section_0_2
TotalArea | IfcSpace.NetFloorArea | section_0_2
IndustrialActivityArea | Firebim.IndustrialActivityArea | section_0_2
NonIndustrialActivityArea | Firebim.NonIndustrialActivityArea | section_0_2
SupportsNonIndustrialActivity | Firebim.SupportsNonIndustrialActivity | section_0_2
HasNightOccupancy | Firebim.HasNightOccupancy | section_0_2
IsIndustrialActivity | Firebim.IsIndustrialActivity | section_0_2
BuildingType | Pset_BuildingCommon.BuildingType | section_0_2
NumberOfStoreys | Pset_BuildingCommon.NumberOfStoreys | section_0_2
TotalFloorArea | Pset_BuildingCommon.GrossFloorArea | section_0_2
IsIndustrialBuilding | Firebim.IsIndustrialBuilding | section_0_2
IsSingleFamilyHouse | Firebim.IsSingleFamilyHouse | section_0_2
IsBetweenBuildings | Firebim.IsBetweenBuildings | section_0_3
IsBetweenCompartments | Firebim.IsBetweenCompartments | section_0_3
FireDepartmentApprovedAccessRoad | Pset_Firebim.FireDepartmentApprovedAccessRoad | section_1
FireDepartmentVehicleAccessDistance | Firebim.FireDepartmentVehicleAccessDistance | section_1_1
FireDepartmentVehicleAccessPoint | Firebim.FireDepartmentVehicleAccessPoint | section_1_1
AccessRoadType | Firebim.AccessRoadType | section_1_1
AccessRoadMinimumWidth | Firebim.AccessRoadMinimumWidth | section_1_1
AccessRoadMinimumInnerTurningRadius | Firebim.AccessRoadMinimumInnerTurningRadius | section_1_1
AccessRoadMinimumOuterTurningRadius | Firebim.AccessRoadMinimumOuterTurningRadius | section_1_1
AccessRoadMinimumClearHeight | Firebim.AccessRoadMinimumClearHeight | section_1_1
AccessRoadMaximumSlope | Firebim.AccessRoadMaximumSlope | section_1_1
AccessRoadLoadCapacity | Firebim.AccessRoadLoadCapacity | section_1_1
AccessRoadMaximumAxleLoad | Firebim.AccessRoadMaximumAxleLoad | section_1_1
ObstructsEvacuation | Firebim.ObstructsEvacuation | section_1_2
CompromisesUserSafety | Firebim.CompromisesUserSafety | section_1_2
HindersFirefighterAction | Firebim.HindersFirefighterAction | section_1_2
BuildingHeight | Pset_BuildingCommon.Height | section_1_3
WallFireResistance | Pset_WallCommon.FireRating | section_1_3
DoorFireResistance | Pset_DoorCommon.FireRating | section_1_3
DoorSelfClosing | Pset_DoorCommon.SelfClosingDevice | section_1_3
DistanceBetweenBuildings | Firebim.DistanceBetweenBuildings | section_1_3
AngleBetweenFacades | Firebim.AngleBetweenFacades | section_1_3
RadiationIntensity | Firebim.RadiationIntensity | section_1_3
IsAdjacentBuilding | Firebim.IsAdjacentBuilding | section_1_3
IsSeparatedByPublicRoad | Firebim.IsSeparatedByPublicRoad | section_1_3
SectionNumber | Firebim.SectionNumber | section_2
CompartmentArea | Pset_SpaceCommon.GrossFloorArea | section_2_1
CompartmentLength | Pset_SpaceCommon.FinishCeilingHeight | section_2_1
CompartmentHeight | Pset_SpaceCommon.GrossHeight | section_2_1
HasAutomaticFireExtinguishingSystem | Pset_SpaceFireSafetyRequirements.AutomaticSprinklerProtection | section_2_1
HasSmokeAndHeatExhaustSystem | Pset_SpaceFireSafetyRequirements.SmokeExhaustSystem | section_2_1
HasAutomaticFireDetectionSystem | Pset_SpaceFireSafetyRequirements.FireDetectionSystem | section_2_1
FireDetectionCoverageType | Firebim.FireDetectionCoverageType | section_2_1
IsGroundFloor | Pset_SpaceCommon.IsExternal | section_2_1
HasInternalStaircase | Firebim.HasInternalStaircase | section_2_1
NumberOfConnectedFloors | Firebim.NumberOfConnectedFloors | section_2_1
ContainsTechnicalRoomsOnly | Firebim.ContainsTechnicalRoomsOnly | section_2_1
OccupantCount | Pset_SpaceOccupancyRequirements.OccupancyNumber | section_2_2
NumberOfExits | Firebim.NumberOfExits | section_2_2
MinimumRequiredExits | Firebim.MinimumRequiredExits | section_2_2
IsExit | Pset_DoorCommon.IsExternal | section_2_2
ExitCapacity | Firebim.ExitCapacity | section_2_2
CompartmentHasOppositeExits | Firebim.CompartmentHasOppositeExits | section_2_2
EvacuationRouteLeadsOutside | Firebim.EvacuationRouteLeadsOutside | section_2_2
EvacuationRouteLeadsToStaircase | Firebim.EvacuationRouteLeadsToStaircase | section_2_2
EvacuationRouteLeadsToStairs | Firebim.EvacuationRouteLeadsToStairs | section_2_2
IsUndergroundLevel | Firebim.IsUndergroundLevel | section_2_2
StairLeadsDirectlyOutside | Firebim.StairLeadsDirectlyOutside | section_2_2
StairLeadsToEvacuationRoute | Firebim.StairLeadsToEvacuationRoute | section_2_2
FireResistanceRating | Pset_WallCommon.FireRating | section_3
SelfClosing | Pset_DoorCommon.SelfClosing | section_3
Smokeseal | Pset_DoorCommon.SmokeStop | section_3
DoorWidth | Pset_DoorCommon.OverallWidth | section_3
DoorHeight | Pset_DoorCommon.OverallHeight | section_3
DoorThickness | Pset_DoorCommon.OverallThickness | section_3
WallWidth | Pset_WallCommon.Width | section_3
WallHeight | Pset_WallCommon.Height | section_3
WallThickness | Pset_WallCommon.Width | section_3
OpeningDirection | Firebim.OpeningDirection | section_3
EvacuationRoute | Firebim.EvacuationRoute | section_3
FireCompartment | Firebim.FireCompartment | section_3
OccupancyType | Pset_SpaceOccupancy.OccupancyType | section_3
OccupantLoad | Pset_SpaceOccupancy.OccupancyNumber | section_3
TravelDistance | Firebim.TravelDistance | section_3
RequiredFireResistance | Pset_WallCommon.FireRating | section_3_1
PenetrationFireResistance | Firebim.PenetrationFireResistance | section_3_1
ConduitFireResistance | Firebim.ConduitFireResistance | section_3_1
ExpansionJointFireResistance | Firebim.ExpansionJointFireResistance | section_3_1
FireResistanceRating | Pset_FireRatingProperties.FireRating | section_3_2
LowestEvacuationLevel | Firebim.LowestEvacuationLevel | section_3_2
NumberOfStoreys | Pset_BuildingStorey.NumberOfStoreys | section_3_2
IsLowestEvacuationLevel | Firebim.IsLowestEvacuationLevel | section_3_2
IsRoofElement | Firebim.IsRoofElement | section_3_2
HasInternalProtection | Firebim.HasInternalProtection | section_3_2
InternalProtectionRating | Pset_FireRatingProperties.FireRating | section_3_2
NumberOfFloors | IfcBuilding.NumberOfStoreys | section_3_3
FloorLevel | Pset_BuildingStorey.AboveGround | section_3_3
DoorFireResistanceRating | Pset_DoorCommon.FireRating | section_3_3
CompartmentType | Firebim.CompartmentType | section_3_3
WallFunction | Pset_WallCommon.Reference | section_3_3
NightOccupancy | Firebim.NightOccupancy | section_3_3
FireResistanceRating | Pset_CoveringCommon.FireRating | section_3_4
FireStabilityDuration | Firebim.FireStabilityDuration | section_3_4
HasSprinklerSystem | Pset_SpaceFireSafetyRequirements.SprinklerProtection | section_3_4
SprinklerSystemAdequacy | Firebim.SprinklerSystemAdequacy | section_3_4
MaximumCompartmentSide | Firebim.MaximumCompartmentSide | section_3_4
MaterialClass | Pset_MaterialClassification.MaterialClass | section_3_4
ExtendsThroughPipes | Firebim.ExtendsThroughPipes | section_3_4
FireResistanceRating | Pset_DoorCommon.FireRating | section_3_5
SmokeControl | Pset_DoorCommon.SmokeStop | section_3_5
OperationType | Pset_DoorCommon.OperationType | section_3_5
OpeningDirection | Pset_DoorCommon.OpeningDirection | section_3_5
DoorPanelOperation | Pset_DoorCommon.DoorPanelOperation | section_3_5
DoorPanelPosition | Pset_DoorCommon.DoorPanelPosition | section_3_5
DoorSetOperation | Pset_DoorCommon.DoorSetOperation | section_3_5
DoorSetType | Pset_DoorCommon.DoorSetType | section_3_5
IsExternalDoor | Pset_DoorCommon.IsExternal | section_3_5
ThermalTransmittance | Pset_DoorCommon.ThermalTransmittance | section_3_5
GlazingAreaFraction | Pset_DoorCommon.GlazingAreaFraction | section_3_5
FireExit | Pset_DoorCommon.FireExit | section_3_5
HandicapAccessible | Pset_DoorCommon.HandicapAccessible | section_3_5
FireRatedAssembly | Pset_DoorCommon.FireRating | section_3_5
AcousticRating | Pset_DoorCommon.AcousticRating | section_3_5
SecurityRating | Pset_DoorCommon.SecurityRating | section_3_5
DoorClearanceHeight | Firebim.DoorClearanceHeight | section_3_5
DoorClearanceWidth | Firebim.DoorClearanceWidth | section_3_5
DoorThreshold | Firebim.DoorThreshold | section_3_5
DoorHardwareType | Firebim.DoorHardwareType | section_3_5
EmergencyEgressDevice | Firebim.EmergencyEgressDevice | section_3_5
AutomaticClosureDevice | Firebim.AutomaticClosureDevice | section_3_5
PositiveLatching | Firebim.PositiveLatching | section_3_5
GasketsPresent | Firebim.GasketsPresent | section_3_5
DoorFrameMaterial | Firebim.DoorFrameMaterial | section_3_5
DoorPanelMaterial | Firebim.DoorPanelMaterial | section_3_5
GlazingType | Firebim.GlazingType | section_3_5
FireRatedGlazing | Firebim.FireRatedGlazing | section_3_5
IntumescentStrips | Firebim.IntumescentStrips | section_3_5
DoorCloserType | Firebim.DoorCloserType | section_3_5
HoldOpenDevice | Firebim.HoldOpenDevice | section_3_5
EmergencyLighting | Firebim.EmergencyLighting | section_3_5
ExitSignage | Firebim.ExitSignage | section_3_5
PanicHardware | Firebim.PanicHardware | section_3_5
AccessControlSystem | Firebim.AccessControlSystem | section_3_5
FireAlarmIntegration | Firebim.FireAlarmIntegration | section_3_5
FireResistanceRating | Pset_CurtainWallCommon.FireRating | section_3_5
AutomaticSprinklerSystem | Pset_BuildingStoreyCommon.SprinklerProtection | section_3_5
LinearJointSealed | Firebim.LinearJointSealed | section_3_5
CompartmentWallJunctionFireResistance | Firebim.CompartmentWallJunctionFireResistance | section_3_5
MaxLinearJointWidth | Firebim.MaxLinearJointWidth | section_3_5
FacadeDistance | Firebim.FacadeDistance | section_3_5
BuildingHeight | Pset_BuildingStoreyCommon.GrossHeight | section_3_5
IncludedAngle | Firebim.IncludedAngle | section_3_5
MaxRadiation | Firebim.MaxRadiation | section_3_5
FireResistanceDuration | Firebim.FireResistanceDuration | section_3_5
ClosureDeviceFireResistance | Firebim.ClosureDeviceFireResistance | section_3_5
ThermalDetectionTemperature | Firebim.ThermalDetectionTemperature | section_3_5
VentilationOpeningAngle | Firebim.VentilationOpeningAngle | section_3_5
VentilationOpeningDistribution | Firebim.VentilationOpeningDistribution | section_3_5
AutomaticOperationCompliance | Firebim.AutomaticOperationCompliance | section_3_5
ManualControlReservedForFireDepartment | Firebim.ManualControlReservedForFireDepartment | section_3_5
FailSafeOperation | Firebim.FailSafeOperation | section_3_5
FaultDetectionCapability | Firebim.FaultDetectionCapability | section_3_5
ElectricalWiringCompliance | Firebim.ElectricalWiringCompliance | section_3_5
IsEvacuationSpace | Pset_SpaceCommon.IsEvacuationSpace | section_4
NumberOfStoreys | IfcBuilding.NumberOfStoreys | section_4_1
CompartmentLocation | Firebim.CompartmentLocation | section_4_1
DoorSelfClosing | Pset_DoorCommon.SelfClosing | section_4_1
DoorFireClosing | Firebim.FireClosing | section_4_1
ConnectsMultipleCompartments | Firebim.ConnectsMultipleCompartments | section_4_2
IsEnclosed | Firebim.IsEnclosed | section_4_2
IsExterior | Pset_WallCommon.IsExternal | section_4_2
GlazingFireResistance | Firebim.GlazingFireResistance | section_4_2
LateralOffset | Firebim.LateralOffset | section_4_2
DuplexTotalArea | Pset_SpaceCommon.GrossFloorArea | section_4_2
DuplexFloorArea | Pset_SpaceCommon.GrossFloorArea | section_4_2
TriplexFloorArea | Pset_SpaceCommon.GrossFloorArea | section_4_2
IsSelfClosing | Pset_DoorCommon.SelfClosing | section_4_2
IsFireSelfClosing | Firebim.IsFireSelfClosing | section_4_2
VentilationOpeningArea | Firebim.VentilationOpeningArea | section_4_2
IsManuallyOperated | Firebim.IsManuallyOperated | section_4_2
IsVisiblyPlaced | Firebim.IsVisiblyPlaced | section_4_2
DuctCrossSection | Pset_DuctSegmentTypeCommon.CrossSectionArea | section_4_2
FireResistanceRating | Pset_StairCommon.FireRating | section_4_2
MaterialClass | Pset_MaterialCommon.Combustibility | section_4_2
MeltingTemperature | Firebim.MeltingTemperature | section_4_2
HandrailsOnBothSides | Firebim.HandrailsOnBothSides | section_4_2
TreadDepth | Pset_StairFlightCommon.TreadLength | section_4_2
RiserHeight | Pset_StairFlightCommon.RiserHeight | section_4_2
StairInclination | Pset_StairFlightCommon.Slope | section_4_2
StairType | Pset_StairCommon.Shape | section_4_2
UsefulWidth | Pset_StairCommon.Width | section_4_2
FireResistanceRating | Pset_SlabCommon.FireRating | section_4_2
UsefulWidth | Pset_SpaceCommon.NetFloorArea | section_4_2
SpecialPurpose | Firebim.SpecialPurpose | section_4_2
TheoreticalStairWidth | Firebim.TheoreticalStairWidth | section_4_2
NumberOfUsers | Pset_SpaceOccupancyRequirements.OccupancyNumber | section_4_2
LeadsToEvacuationLevel | Firebim.LeadsToEvacuationLevel | section_4_3
MaterialClass | Pset_MaterialCommon.FireRating | section_4_3
ConnectionType | Firebim.ExternalStairConnectionType | section_4_3
IsRetractable | Firebim.IsRetractable | section_4_3
TenabilityPeriod | Firebim.TenabilityPeriod | section_4_4
BuildingClass | Pset_BuildingCommon.OccupancyType | section_4_4
OccupantNumber | Pset_SpaceOccupancyRequirements.OccupancyNumber | section_4_4
ExitWidth | Firebim.ExitWidth | section_4_4
DayOccupancy | Firebim.DayOccupancy | section_4_4
DistanceToEvacuationRoute | Firebim.DistanceToEvacuationRoute | section_4_4
DistanceToNearestExit | Firebim.DistanceToNearestExit | section_4_4
DistanceToSecondExit | Firebim.DistanceToSecondExit | section_4_4
DeadEndLength | Firebim.DeadEndLength | section_4_4
EvacuationRouteWidth | IfcDoorType.OverallWidth | section_4_4
EscapeTerraceWidth | Firebim.EscapeTerraceWidth | section_4_4
HasSprinklerSystem | Pset_SpaceFireSafetyRequirements.SprinkerProtection | section_4_4
HasFireDetectionSystem | Pset_SpaceFireSafetyRequirements.FireDetection | section_4_4
WallCoveringFireReaction | Pset_CoveringCommon.FireRating | section_4_4
CeilingCoveringFireReaction | Pset_CoveringCommon.FireRating | section_4_4
FloorCoveringFireReaction | Pset_CoveringCommon.FireRating | section_4_4
IsOnEvacuationRoute | Firebim.IsOnEvacuationRoute | section_4_4
DistanceToPublicRoad | Firebim.DistanceToPublicRoad | section_4_4
SpaceFunction | Pset_SpaceCommon.OccupancyType | section_4_4
FloorNumber | IfcBuildingStorey.Name | section_4_5
SignageCompliance | Firebim.SignageCompliance | section_4_5
OpeningDirection | Pset_DoorCommon.HandicapAccessible | section_5
IsEmergencyExit | Pset_DoorCommon.FireExit | section_5
HasPanicHardware | Firebim.HasPanicHardware | section_5
IsInFireCompartment | Firebim.IsInFireCompartment | section_5
FireCompartmentName | Firebim.FireCompartmentName | section_5
CompartmentType | Pset_SpaceCommon.SpaceType | section_5_1
ExitCount | Firebim.ExitCount | section_5_1
MaxDistanceToExit | Firebim.MaxDistanceToExit | section_5_1
MaxDistanceBetweenExits | Firebim.MaxDistanceBetweenExits | section_5_1
CompartmentArea | Pset_SpaceCommon.GrossPlannedArea | section_5_1
EvacuationRouteWidth | Pset_SpaceCommon.NetWidth | section_5_1
StaircaseWidth | Pset_StairCommon.NetWidth | section_5_1
LandingWidth | Pset_StairFlightCommon.NetWidth | section_5_1
VestibuleWidth | Firebim.VestibuleWidth | section_5_1
CumulativeCombustionRate | Firebim.CumulativeCombustionRate | section_5_1
IsBoilerRoom | Pset_SpaceFireSafetyRequirements.IsBoilerRoom | section_5_1
IsFuelStorageRoom | Firebim.IsFuelStorageRoom | section_5_1
IsTechnicalRoom | Pset_SpaceCommon.IsTechnicalRoom | section_5_1
CompartmentType | Pset_SpaceFireSafetyRequirements.FireCompartmentType | section_5_1
InternalWallFireResistance | Pset_WallCommon.FireRating | section_5_1
AirLockArea | Firebim.AirLockArea | section_5_1
FuelStorageCapacity | Firebim.FuelStorageCapacity | section_5_1
TotalFireLoad | Firebim.TotalFireLoad | section_5_1
TotalNominalPower | Firebim.TotalNominalPower | section_5_1
ConstructionApplicationDate | Firebim.ConstructionApplicationDate | section_5_1
IsExteriorAccess | Firebim.IsExteriorAccess | section_5_1
WaterProtectionMeasures | Firebim.WaterProtectionMeasures | section_5_1
OilContentVolume | Firebim.OilContentVolume | section_5_1
IsSpeciallyDesignated | Firebim.IsSpeciallyDesignated | section_5_1
FireResistanceRatingDoor | Pset_DoorCommon.FireRating | section_5_1
IsWasteDisposalChuteAllowed | Firebim.IsWasteDisposalChuteAllowed | section_5_1
VentilationCrossSectionArea | Firebim.VentilationCrossSectionArea | section_5_1
TotalHorizontalCrossSectionArea | Firebim.TotalHorizontalCrossSectionArea | section_5_1
VentilationFlapControlType | Firebim.VentilationFlapControlType | section_5_1
CoverEntireSpace | Firebim.CoverEntireSpace | section_5_1
IsUnlimitedArea | Firebim.IsUnlimitedArea | section_5_2
HasMultipleCommunicatingFloors | Firebim.HasMultipleCommunicatingFloors | section_5_2
FireResistanceRating | Pset_BuildingElementCommon.FireRating | section_5_2
IsRoofProtectiveOnly | Firebim.IsRoofProtectiveOnly | section_5_2
IsOpenParkingLevel | Firebim.IsOpenParkingLevel | section_5_2
SupportedCompartments | Firebim.SupportedCompartments | section_5_2
IsFireResistant | Pset_WallCommon.IsFireRated | section_5_2
IsFireResistant | Pset_DoorCommon.IsFireRated | section_5_2
IsFireTriggeredClosing | Firebim.FireTriggeredClosing | section_5_2
ConnectsToParking | Firebim.ConnectsToParking | section_5_2
ConnectsToBuildingInterior | Firebim.ConnectsToBuildingInterior | section_5_2
RequiredFireResistanceRating | Pset_FireRatingProperties.FireRating | section_5_2
DesignCompliance | Firebim.DesignCompliance | section_5_2
ConstructionCompliance | Firebim.ConstructionCompliance | section_5_2
InteriorDesignCompliance | Firebim.InteriorDesignCompliance | section_5_2
IsOpenParking | Firebim.IsOpenParking | section_5_2
BuildingPermitSubmissionDate | Firebim.BuildingPermitSubmissionDate | section_5_2
IsUsedForOccupancy | Firebim.IsUsedForOccupancy | section_5_2
EvacuationRouteWidth | Pset_StairCommon.Width | section_5_2
RampSlope | Pset_RampCommon.Slope | section_5_2
DistanceToExit | Firebim.DistanceToExit | section_5_2
NumberOfFloors | Pset_BuildingStorey.TotalHeight | section_5_2
FloorAreaAboveGround | Pset_SpaceCommon.GrossFloorArea | section_5_2
IsSmokePrevented | Firebim.IsSmokePrevented | section_5_2
IsUnderground | Pset_SpaceCommon.IsExternal | section_5_3
LowestFloorLevel | IfcBuildingStorey.Elevation | section_5_3
NearestEvacuationLevel | Firebim.NearestEvacuationLevelElevation | section_5_3
MaxDepthBelow500Occupants | Firebim.MaxDepthBelow500Occupants | section_5_3
MaxDepthAbove500Occupants | Firebim.MaxDepthAbove500Occupants | section_5_3
AverageEvacuationLevel | Firebim.AverageEvacuationLevelElevation | section_5_3
NumberOfExits | Pset_SpaceCommon.NumberOfExits | section_5_3
FireResistance | Pset_WallCommon.FireRating | section_5_3
SelfClosing | Pset_DoorCommon.SelfClosingDoor | section_5_3
FireRating | Pset_DoorCommon.FireRating | section_5_3
EvacuationRoute | Pset_DoorCommon.FireExit | section_5_3
ObstructionFree | Firebim.ObstructionFreeEvacuation | section_5_3
FireResistanceRatingShopUnit | Pset_SpaceCommon.FireRating | section_5_4
HasSprinklerSystem | Firebim.HasSprinklerSystem | section_5_4
IndependentExit | Firebim.IndependentExit | section_5_4
WallContinuityThroughCeiling | Firebim.WallContinuityThroughCeiling | section_5_4
FireRatedDoor | Pset_DoorCommon.FireRating | section_5_5
DuctFireRating | Pset_DuctSegmentTypeCommon.FireRating | section_5_5
HasAutomaticFireExtinguishing | Firebim.HasAutomaticFireExtinguishing | section_5_5
EnergySupplyInterruption | Firebim.EnergySupplyInterruption | section_5_5
IsToegankelijkVoorOnderhoud | Firebim.IsAccessibleForMaintenance | section_6_1
IsToegankelijkVoorControle | Firebim.IsAccessibleForInspection | section_6_1
IsToegankelijkVoorNoodgevallen | Firebim.IsAccessibleForEmergencies | section_6_1
BeïnvloedtBrandwerendheidNiet | Firebim.DoesNotAffectFireResistance | section_6_1
StoptBijAbnormaleTemperatuur | Firebim.StopsAtAbnormalTemperature | section_6_1
AutomatischeTerugkeerNaAfkoeling | Firebim.AutomaticReturnAfterCooling | section_6_1
BevatGeenWaterblussing | Firebim.ContainsNoWaterExtinguishingSystem | section_6_1
SelfClosing | Pset_DoorCommon.SelfClosingOperation | section_6_1
FireSelfClosing | Pset_DoorCommon.FireExit | section_6_1
SmokeDetection | Pset_FireDetectionSystem.SmokeDetectorActivation | section_6_1
LandingArea | Firebim.LandingArea | section_6_1
CarArea | Firebim.CarArea | section_6_1
ServesMultipleCompartments | Firebim.ServesMultipleCompartments | section_6_1
ServesOnlyOneCompartment | Firebim.ServesOnlyOneCompartment | section_6_1
DirectOutdoorAccess | Firebim.DirectOutdoorAccess | section_6_1
OilCapacity | Firebim.OilCapacity | section_6_1
ContainmentVolume | Firebim.ContainmentVolume | section_6_1
ElectricalEquipmentElevation | Firebim.ElectricalEquipmentElevation | section_6_1
NaturalVentilation | Firebim.NaturalVentilation | section_6_1
VentilationLocation | Firebim.VentilationLocation | section_6_1
VentilationOpeningType | Firebim.VentilationOpeningType | section_6_1
VentilationOpeningSize | Firebim.VentilationOpeningSize | section_6_1
MotorizedVentilationFlaps | Firebim.MotorizedVentilationFlaps | section_6_1
AutomaticVentilationControl | Firebim.AutomaticVentilationControl | section_6_1
TemperatureControlledVentilation | Firebim.TemperatureControlledVentilation | section_6_1
FireDetectionControlledVentilation | Firebim.FireDetectionControlledVentilation | section_6_1
BuildingFireDetectionControlledVentilation | Firebim.BuildingFireDetectionControlledVentilation | section_6_1
FailSafeVentilation | Firebim.FailSafeVentilation | section_6_1
ManualVentilationControl | Firebim.ManualVentilationControl | section_6_1
EvacuationLevel | Pset_TransportElementElevator.EvacuationLevel | section_6_1
DesignatedLanding | Pset_TransportElementElevator.FireFightingLiftLandingFloor | section_6_1
ManualRecallDevice | Firebim.ManualRecallDevice | section_6_1
FireDetectionSystem | Firebim.FireDetectionSystem | section_6_1
SmokeDetectionInShaft | Firebim.SmokeDetectionInShaft | section_6_1
AlternativeLanding | Firebim.AlternativeLanding | section_6_1
OpenDoorsAtDesignatedLanding | Firebim.OpenDoorsAtDesignatedLanding | section_6_1
DisabledNormalOperation | Firebim.DisabledNormalOperation | section_6_1
ResetByAuthorizedPerson | Firebim.ResetByAuthorizedPerson | section_6_1
OpeningForce | Firebim.OpeningForce | section_6_2
FrameMaterial | Pset_DoorCommon.FrameMaterial | section_6_2
PanelMaterial | Pset_DoorCommon.PanelMaterial | section_6_2
GlazingArea | Firebim.GlazingArea | section_6_2
HardwareType | Firebim.HardwareType | section_6_2
LatchingMechanism | Firebim.LatchingMechanism | section_6_2
EmergencyExit | Pset_DoorCommon.IsExternal | section_6_2
IsAutomaticClosing | Pset_DoorCommon.SelfClosing | section_6_2
NormallyClosedStatus | Firebim.NormallyClosedStatus | section_6_2
Location | Pset_SpaceCommon.LocationAtBuilding | section_6_2
ContainerTransportHorizontalTrajectory | Firebim.ContainerTransportHorizontalTrajectory | section_6_2
ContainerTransportVerticalTrajectory | Firebim.ContainerTransportVerticalTrajectory | section_6_2
CrossesStoreys | Firebim.CrossesStoreys | section_6_2
CrossesCompartments | Firebim.CrossesCompartments | section_6_2
OutOfServiceOnFireAlarm | Firebim.OutOfServiceOnFireAlarm | section_6_2
NumberOfStoreys | Pset_BuildingStoreyCommon.NumberOfStoreys | section_6_3
IsOutdoor | Pset_SpaceCommon.IsExternal | section_6_3
ExitsToOutside | Firebim.ExitsToOutside | section_6_3
CompliesWithSection631And632 | Firebim.CompliesWithSection631And632 | section_6_3
SpecialLift | Firebim.IsSpecialLift | section_6_4
FireOperationCompliance | Firebim.FireOperationCompliance | section_6_4
SafetyLevelEquivalence | Firebim.SafetyLevelEquivalence | section_6_4
MarketingCompliance | Firebim.MarketingCompliance | section_6_4
EvacuationPurpose | Pset_TransportElementElevator.FirefightingLiftIndicator | section_6_4
AccessibleForDisabled | Pset_TransportElementElevator.AccessibilityCompliant | section_6_4
LobbyArea | Pset_SpaceCommon.GrossFloorArea | section_6_4
CarWidth | Pset_TransportElementElevator.CarWidth | section_6_4
CarDepth | Pset_TransportElementElevator.CarDepth | section_6_4
DoorWidth | Pset_DoorCommon.ClearOpeningWidth | section_6_4
AutomaticOperation | Pset_DoorCommon.IsAutomaticOperating | section_6_4
EvacuationKey | Firebim.EvacuationKeySwitch | section_6_4
EvacuationSignage | Firebim.EvacuationSignagePresent | section_6_4
IntercomSystem | Firebim.IntercomSystemPresent | section_6_4
TwoWayCommunication | Firebim.TwoWayCommunicationEnabled | section_6_4
BuiltInMicrophoneSpeaker | Firebim.BuiltInMicrophoneSpeakerPresent | section_6_4
WiringLocation | Firebim.CommunicationWiringLocation | section_6_4
LobbyIntercomSystem | Firebim.LobbyIntercomSystemPresent | section_6_4
RedundantCommunication | Firebim.RedundantCommunicationSystem | section_6_4
FirefighterElevator | Pset_TransportElementCommon.FireFightingLift | section_6_4
StandardCompliance | Firebim.StandardCompliance | section_6_4
LobbyFireResistance | Pset_SpaceCommon.FireRating | section_6_4
ShaftFireSeparation | Firebim.ShaftFireSeparation | section_6_4
ElevatorCarWidth | Pset_TransportElementElevator.CarWidth | section_6_4
ElevatorCarDepth | Pset_TransportElementElevator.CarDepth | section_6_4
DoorOpeningWidth | Pset_DoorCommon.ClearOpeningWidth | section_6_4
AutomaticDoorOperation | Pset_DoorCommon.IsAutomated | section_6_4
FirefighterSwitchPresence | Firebim.FirefighterSwitchPresence | section_6_4
ElevatorTravelTime | Firebim.ElevatorTravelTime | section_6_4
ConstructionPermitSubmissionDate | Firebim.ConstructionPermitSubmissionDate | section_6_4
LiftDesignDate | Firebim.LiftDesignDate | section_6_4
LiftModernizationDate | Firebim.LiftModernizationDate | section_6_4
AutomaticDoorOperation | Pset_DoorCommon.IsAutomaticOperating | section_6_4
DoorClearWidth | Pset_DoorCommon.ClearWidth | section_6_4
ComplianceWithAREI | Firebim.ComplianceWithAREI | section_6_5
ElectricalCableOuterDiameter | Pset_CableSegmentOccurrence.OuterDiameter | section_6_5
ElectricalConductorCrossSection | Pset_CableSegmentOccurrence.ConductorCrossSection | section_6_5
FireResistanceRating | Pset_CableSegmentOccurrence.FireRating | section_6_5
FireResistanceRatingMethod | Firebim.FireResistanceRatingMethod | section_6_5
CableInstallationMethod | Pset_CableSegmentOccurrence.InstallationMethod | section_6_5
SafetyLighting | Firebim.SafetyLighting | section_6_5
ReplacementLighting | Firebim.ReplacementLighting | section_6_5
AlarmSystem | Firebim.AlarmSystem | section_6_5
SmokeExtractionSystem | Firebim.SmokeExtractionSystem | section_6_5
FireFightingWaterPump | Firebim.FireFightingWaterPump | section_6_5
DrainagePump | Firebim.DrainagePump | section_6_5
SpecialElevator | Firebim.SpecialElevator | section_6_5
EmergencyPowerCircuit | Pset_ElectricalCircuit.CircuitType | section_6_5
AutonomousPowerSource | IfcElectricalDomain.UNINTERRUPTABLEPOWERSUPPLY | section_6_5
PowerCapacity | Pset_ElectricalDeviceCommon.RatedPower | section_6_5
AutomaticSwitchoverTime | Firebim.AutomaticSwitchoverTime | section_6_5
EmergencyOperationDuration | Firebim.EmergencyOperationDuration | section_6_5
CompliesWithStandards | Firebim.CompliesWithStandards | section_6_5
PowerSource | Firebim.PowerSource | section_6_5
AlternativePowerSource | Firebim.AlternativePowerSource | section_6_5
ConnectedToNormalCircuit | Firebim.ConnectedToNormalCircuit | section_6_5
EnsuresProperOperation | Firebim.EnsuresProperOperation | section_6_5
GasType | Firebim.GasType | section_6_6
MaximumOperatingPressure | IfcPropertySet.Pset_DistributionSystemCommon.MaximumOperatingPressure | section_6_6
ComplianceStandard | Firebim.ComplianceStandard | section_6_6
InstallationType | Firebim.InstallationType | section_6_6
DistributionMethod | Firebim.DistributionMethod | section_6_6
LocationType | Firebim.LocationType | section_6_6
AeraulicInstallationPresent | Pset_FireBIM.AeraulicInstallationPresent | section_6_7
SpecialFireRisk | Firebim.SpecialFireRisk | section_6_7
FlammableProductStorage | Firebim.FlammableProductStorage | section_6_7
AirRecirculation | Firebim.AirRecirculation | section_6_7
ExhaustAirDestination | Firebim.ExhaustAirDestination | section_6_7
CompensationAir | Firebim.CompensationAir | section_6_7
DirectOutdoorExhaust | Firebim.DirectOutdoorExhaust | section_6_7
AirFlowRate | IfcPropertySet.Pset_AirHandlingUnitTypeCommon.AirFlowRate | section_6_7
ServesMultipleSpaces | Firebim.ServesMultipleSpaces | section_6_7
MaterialClass | Pset_DuctSegmentTypeCommon.Material | section_6_7
InsulationMaterialClass | Firebim.InsulationMaterialClass | section_6_7
FlexibleDuctClass | Firebim.FlexibleDuctClass | section_6_7
FlexibleDuctMaxLength | Firebim.FlexibleDuctMaxLength | section_6_7
FireResistanceClass | Pset_DuctSegmentTypeCommon.FireRating | section_6_7
SuspensionMaterial | Firebim.SuspensionMaterial | section_6_7
SuspensionSpacing | Firebim.SuspensionSpacing | section_6_7
SuspensionForcePerPoint | Firebim.SuspensionForcePerPoint | section_6_7
SuspensionStress | Firebim.SuspensionStress | section_6_7
DuctToSuspensionDistance | Firebim.DuctToSuspensionDistance | section_6_7
ShearStress | Firebim.ShearStress | section_6_7
WallFireResistanceClass | Pset_WallCommon.FireRating | section_6_7
ExhaustDuctMaterial | Pset_DuctSegmentTypeCommon.Material | section_6_7
MaterialClass | Pset_MaterialCommon.Combustible | section_6_7
DuctMaterial | Pset_DuctSegmentTypeCommon.Material | section_6_7
DuctLength | Pset_DuctSegmentTypeCommon.Length | section_6_7
DuctCrossSectionArea | Pset_DuctSegmentTypeCommon.CrossSectionArea | section_6_7
FireDamperRating | Pset_FireDamperTypeCommon.FireRating | section_6_7
OccupancyType | Pset_SpaceCommon.OccupancyType | section_6_7
IsEvacuationRoute | Firebim.IsEvacuationRoute | section_6_7
HasAirInlets | Firebim.HasAirInlets | section_6_7
DuctFireResistance | Firebim.DuctFireResistance | section_6_7
HasFireClosingDevice | Firebim.HasFireClosingDevice | section_6_7
IsExclusiveShaft | Firebim.IsExclusiveShaft | section_6_7
DamperOperationType | Pset_DamperTypeCommon.DamperOperation | section_6_7
AutomaticClosureTemperature | Firebim.AutomaticClosureTemperature | section_6_7
RemoteControlClosure | Firebim.RemoteControlClosure | section_6_7
PositiveSafetySystem | Firebim.PositiveSafetySystem | section_6_7
ExternalEnergyRequired | Firebim.ExternalEnergyRequired | section_6_7
FireResistanceRating | Pset_DamperTypeFireSmokeDamper.FireResistanceRating | section_6_7
CycleTestCount | Firebim.CycleTestCount | section_6_7
CorrosionResistant | Firebim.CorrosionResistant | section_6_7
PeriodicLubricationRequired | Firebim.PeriodicLubricationRequired | section_6_7
PositionIndicator | Firebim.PositionIndicator | section_6_7
AirflowDirectionIndicator | Firebim.AirflowDirectionIndicator | section_6_7
ManufacturerName | Pset_ManufacturerTypeInformation.Manufacturer | section_6_7
SerialNumber | Pset_ManufacturerTypeInformation.SerialNumber | section_6_7
YearOfManufacture | Pset_ManufacturerTypeInformation.ProductionYear | section_6_7
FireSafetyDeviceMarking | Firebim.FireSafetyDeviceMarking | section_6_7
ResetCapability | Firebim.ResetCapability | section_6_7
InspectionDoorProvided | Firebim.InspectionDoorProvided | section_6_7
InspectionDoorFireResistance | Firebim.InspectionDoorFireResistance | section_6_7
VisibleMarking | Firebim.VisibleMarking | section_6_7
DamperLeakageRate | Firebim.DamperLeakageRate | section_6_7
DamperLeakageClass | Pset_DamperTypeSmoke.LeakageClass | section_6_7
SealingTemperatureResistance | Firebim.SealingTemperatureResistance | section_6_7
SealingTemperatureResistanceDuration | Firebim.SealingTemperatureResistanceDuration | section_6_7
ClosingMechanismSafety | Firebim.ClosingMechanismSafety | section_6_7
StaticPressureDifference | Firebim.StaticPressureDifference | section_6_7
HasFireDetection | Firebim.HasFireDetection | section_6_7
ServesCompartment | Firebim.ServesCompartment | section_6_7
ShutdownOnFireDetection | Firebim.ShutdownOnFireDetection | section_6_7
IsEasilyAccessible | Firebim.IsEasilyAccessible | section_6_7
IsLocatedAtUsualAccessLevel | Firebim.IsLocatedAtUsualAccessLevel | section_6_7
FireAlarmSystem | Pset_FireSuppressionTerminalTypeFireHydrant.FireHydrantType | section_6_8
WarningSystem | Firebim.WarningSystemType | section_6_8
FirefightingEquipment | Pset_FireSuppressionTerminalTypeCommon.FireSuppressionTerminalType | section_6_8
FireDepartmentApproval | Firebim.FireDepartmentApproval | section_6_8
MaximumGroupSize | Firebim.MaximumGroupSize | section_6_8
MaximumGroupSizeWithoutGuide | Firebim.MaximumGroupSizeWithoutGuide | section_6_8
MaximumGroupSizeWithGuide | Firebim.MaximumGroupSizeWithGuide | section_6_8
MinimumNumberOfGuides | Firebim.MinimumNumberOfGuides | section_6_8
GuideRequirement | Firebim.GuideRequirement | section_6_8
NumberOfFireExtinguishers | Firebim.NumberOfFireExtinguishers | section_6_8
FireExtinguisherSpacing | Firebim.FireExtinguisherSpacing | section_6_8
FireExtinguisherVisibility | Firebim.FireExtinguisherVisibility | section_6_8
FireExtinguisherAccessibility | Firebim.FireExtinguisherAccessibility | section_6_8
FireExtinguisherLocation | Firebim.FireExtinguisherLocation | section_6_8
FireExtinguisherProtection | Firebim.FireExtinguisherProtection | section_6_8
FireExtinguisherSignage | Firebim.FireExtinguisherSignage | section_6_8
RoomDimensions | IfcSpace.Pset_SpaceCommon.GrossFloorArea | section_6_8
RoomRiskLevel | Firebim.RoomRiskLevel | section_6_8
StoreyArea | Pset_SpaceCommon.GrossFloorArea | section_6_8
FireAlarmDevicePerCompartment | Firebim.FireAlarmDevicePerCompartment | section_6_8
CommunicationMethod | Firebim.CommunicationMethod | section_6_8
AutomaticConnection | Firebim.AutomaticConnection | section_6_8
InstructionsPresent | Firebim.InstructionsPresent | section_6_8
EmergencyNumber | Firebim.EmergencyNumber | section_6_8
WarningSignalAudibility | Firebim.WarningSignalAudibility | section_6_8
AlarmSignalAudibility | Firebim.AlarmSignalAudibility | section_6_8
SignalDistinctiveness | Firebim.SignalDistinctiveness | section_6_8
FireExtinguisherType | Pset_FireSuppressionTerminalTypeCommon.ExtinguishingAgent | section_6_8
HoseReelType | Pset_FireSuppressionTerminalTypeCommon.HoseReelType | section_6_8
WaterSupplyPressure | Pset_DistributionSystemTypeHydraulic.WorkingPressure | section_6_8
WaterSupplyDiameter | Pset_PipeSegmentTypeCommon.NominalDiameter | section_6_8
HydrantType | Pset_FireSuppressionTerminalTypeCommon.HydrantType | section_6_8
WaterSupplyCapacity | Firebim.WaterSupplyCapacity | section_6_8
HydrantSpacing | Firebim.HydrantSpacing | section_6_8
HydrantDistanceFromBuilding | Firebim.HydrantDistanceFromBuilding | section_6_8
HydrantDistanceFromRoad | Firebim.HydrantDistanceFromRoad | section_6_8